## iE1-MAX
HEAT PUMP WATER HEATERS
TAG | MANUFACTURER | MODEL | LOCATION | WATER |  |  |  |  | UNIT INFO |  |  |  | ELECTRICAL |  |  |  |  | AIR REQUITEMENT |  | DIMENSIONS
|  |  |  | TEMP RISE (°F) | GPH | SYSTEM OUTLET TEMP (°F) | CONNECTION SIZE | MAX. PRESSURE | REF TYPE | COP | COMP TYPE | BACKUP ELEMENTS | V | PH | HZ | AMPS | BREAKER | TEMP | FLOW | HEIGHT | WIDTH | DEPTH | WEIGHT
HPWH 1 - 7 | Intellihot | iE1 MAX | Outdoor | 90 | 130 | 140 | 1 1/2" | 160 PSI | CO2 | up to 4.9 | Rotary | 2 at 6kW | 208 | 3 | 60 | 74.2 | 90 | -10 F to 110 F | 3500 CFM | 72" | 30" | 30" | 880 lbs.
NOTES:
1. Unit to provide instantaneous hot water without the use of domestic hot water storage tank.
2. Water heater must be floor mounted.
3. Water heater must utilize CO2 refrigerant.
4. Water heater is capable of cellular connectivity and monitoring.
5. Water heater has touch screen display.
6. Provided with manufacturer supplied strainer.
7. Water heater to contain thermal battery, propylene glycol to be provided by water heater manufacturer.
9. Water heater must have 1 year warranty on parts and compressor and 3 year warranty on thermal battery.
Contact your local INTELLIHOT representative for pricing and appliction verification: sales@intellihot.com, 877-835-1705